**Electricity Individual connection**

**Following queries to be reconfirmed from BSES**

1. No extra expense from members apart from 3600/- security deposit and 200/- as BSES contractor initial survey fees
2. No civil work and extra space required
3. How Current solar system will be integrated with this individual meter system . Solar savings benefit adjustment
4. Society will hand over the existing infrastructure including transformers and other equipment to BSES without any hidden cost.
5. Common area meter connection. Current system not supporting connecting all sources to single meter . This will have extra cost connecting the equipment (water pump, common lights, lifts etc) to common meter.
6. What agreement to be signed between society and BSES after handover. Need clarity on all future expense of maintaining, repairing transformers, including HT, LT, Feeder panels, electric cable, and all other equipment. Is this complete BSES responsibilities. This needs to be documented after handover.

**Next step**

1. Taking resolution in AGM to go ahead for allowing BSES for survey for implementations.
2. BSES will identify and appoint a contractor for survey.
3. BSES to submit the complete report in terms of financial & commercial, infrastructure and other operation and governance aspects in detail
4. MC needs to critically examine the complete process from execution perspective to clarify all doubts and queries of residents from BSES.